|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SAMPLE DATE | FLOOR | DRAWS | OUTLET  TYPE | OUTLET DESCRIPTION | LEAD  RESULTS  (PPB) | RL  (PPB) |
| 12/6/19 | 1 | 1 | KI | KITCHEN | ND | 1.00 |
| 12/6/19 | 1 | 2 | KI | KITCHEN | ND | 1.00 |
| 12/6/19 | 1 | 1 | TC | TEACHER CAFÉ SINK | ND | 1.00 |
| 12/6/19 | 1 | 2 | TC | TEACHER CAFÉ SINK | ND | 1.00 |
| 12/6/19 | 1 | 1 | BB | BOYS BATHROOM 111 | ND | 1.00 |
| 12/6/19 | 1 | 2 | BB | BOYS BATHROOM 111 | ND | 1.00 |
| 12/6/19 | 1 | 1 | GB | GIRLS BATHROOM 111 | ND | 1.00 |
| 12/6/19 | 1 | 2 | GB | GIRLS BATHROOM 111 | 5.19 | 1.00 |
| 12/6/19 | 1 | 1 | MO | NURSE SINK | ND | 1.00 |
| 12/6/19 | 1 | 2 | MO | NURSE SINK | ND | 1.00 |
| 12/6/19 | 1 | 1 | B | WATER FOUNTAIN ACROSS FROM108 | ND | 1.00 |
| 12/6/19 | 1 | 2 | B | WATER FOUNTAIN ACROSS FROM108 | ND | 1.00 |
| 12/6/19 | 1 | 1 | B | WATER FOUNTAIN OUTSIDE GYM | ND | 1.00 |
| 12/6/19 | 1 | 2 | B | WATER FOUNTAIN OUTSIDE GYM | ND | 1.00 |
| 12/6/19 | 1 | 1 | B | WATER FOUNTAIN ACROSS FROM107 | ND | 1.00 |
| 12/6/19 | 1 | 2 | B | WATER FOUNTAIN ACROSS FROM107 | ND | 1.00 |
| 12/6/19 | 1 | 1 | CR | SCIENCE ROOM | ND | 1.00 |
| 12/6/19 | 1 | 2 | CR | SCIENCE ROOM | ND | 1.00 |
| 12/6/19 | 1 | 1 | CR | ART ROOM | ND | 1.00 |
| 12/6/19 | 1 | 2 | CR | ART ROOM | ND | 1.00 |
| 12/6/19 | 1 | 1 | CR | CLASSROOM 108 | ND | 1.00 |
| 12/6/19 | 1 | 2 | CR | CLASSROOM 108 | ND | 1.00 |
| 12/4/19 | 1 | 1 | WP | WATER PUMP | 16.4 | 1.00 |
| 12/4/19 | 1 | 2 | WP | WATER PUMP | 2620 | 50.0 |

FERNHILL CAMPUS

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SAMPLE DATE | FLOOR | DRAWS | OUTLET  TYPE | OUTLET DESCRIPTION | LEAD  RESULTS  (PPB) | RL  (PPB) |
| 12/3/19 | 1 | 1 | KI | KITCHEN HANDWASH SINK BACKDOOR | ND | 1.00 |
| 12/3/19 | 1 | 2 | KI | KITCHEN | ND | 1.00 |
| 12/3/19 | 1 | 1 | KI | KITCHEN FRONT DOOR SINK | ND | 1.00 |
| 12/3/19 | 1 | 2 | KI | KITCHEN | ND | 1.00 |
| 12/3/19 | 1 | 1 | KI | KITCHEN HANDWASH BY FRIDGE | ND | 1.00 |
| 12/3/19 | 1 | 2 | KI | KITCHEN | ND | 1.00 |
| 12/3/19 | 1 | 1 | B | GYM WATERFOUNTAIN | ND | 1.00 |
| 12/3/19 | 1 | 2 | B | GYM WATERFOUMTAIN | ND | 1.00 |
| 12/3/19 | 1 | 1 | MO | NURSE SINK | ND | 1.00 |
| 12/3/19 | 1 | 2 | MO | NURSE SINK | ND | 1.00 |
| 12/3/19 | 1 | 1 | CF | CAFETERIA SINK | ND | 1.00 |
| 12/3/19 | 1 | 2 | CF | CAFETERIA SINK | ND | 1.00 |
| 12/3/19 | 1 | 1 | B | WATER FOUNTAIN 1ST FLOOR OUTSIDE BATHROOMS | ND | 1.00 |
| 12/3/19 | 1 | 2 | B | WATER FOUNTAIN1ST FLOOR OUTSIDE BATHROOMS | ND | 1.00 |
| 12/3/19 | 2 | 1 | B | WATER FOUNTAIN 2ND FLOOR OUTSIDE BATHROOM | ND | 1.00 |
| 12/3/19 | 2 | 2 | B | WATER FOUNTAIN 2ND FLOOR OUTSIDE BATHROOM | ND | 1.00 |
| 12/3/19 | 1 | 1 | WP | WATER PUMP | ND | 1.00 |
| 12/3/19 | 1 | 2 | WP | WATER PUMP | ND | 1.00 |

AWBURY CAMPUS

AA=ABOVE ACTION LIMIT OF 10 PPB

BA= BELOW ACTION

PPB= PARTS PER BILLION

RL= REPORTING LIMIT

ND= INDICATES THAT THE ANALYTE WAS NOT DETECTEDAT THE REPORTING LIMIT